## Sheet1
| DESCRIPTION | MANUFACTURER | MAN P/N | FROM | QTY. | QTY REQ TO BUILD 1 | ORDER COST | STOCK | ORDER | LINK
1 | FLOWMETER | TSI | 5310-1 | TSI | 1 | 1 | 1550 | 1 | 0 | https://tsi.com/products/flow-meters,-flow-sensors,-and-flow-analyzers/5000-series-digital-flow-meters/air-gas-mass-flow-meter-(plus-kit)-5310-1/
2 | BATTERY PACK | BATTERY SPACE | CU-J294 | BATTERY SPACE | 1 | 1 | 113.95 | 3 | 0 | https://www.batteryspace.com/Customize-LiFePO4-18650-Battery-25.6V-3000-mAh-76.8Wh-7A-rate-2Rx8.aspx
3 | ROCKER SWITCH | MCMASTER-CARR | 7395K110 | MCMASTER-CARR | 1 | 1 | 7.5 | 4 | 0 | https://www.mcmaster.com/7395K11/
4 | TEENSY BOARD | PJRC | TEENSY35_PINS | PJRC | 1 | 1 | 28.25 | 2 | 0 | https://www.pjrc.com/store/teensy35_pins.html
5 | BATTERY SWITCHING MODULE | WALFRONT | B07B48CW3Y | AMAZON | 1 | 1 | 8.94 | 4 | 0 | https://www.amazon.com/Switching-Charging-Automatic-Emergency-Controller/dp/B07B48CW3Y/ref=sr_1_1?dchild=1&keywords=b07b48cw3y&qid=1632260471&sr=8-1
6 | POWER INLET | QOFOWIN | B08P5PJBCM | AMAZON | 5 | 1 | 8.99 | 9 | 0 | https://www.amazon.com/qofowin-Threaded-Connector-Pre-soldered-Waterproof/dp/B08P5PJBCM/ref=sr_1_1?dchild=1&keywords=b08p5pjbcm&qid=1632260520&sr=8-1
7 | BLOWER FAN | Delta Electronics | BFN0724SS-01 | DIGIKEY | 1 | 1 | 170.33 | 0 | 2 | https://www.digikey.com/en/products/detail/delta-electronics/BFN0724SS-01/10244643
8 | BLOWER FAN CONTROL BOARD | Delta Electronics | FC241B07-L0E | DIGIKEY | 1 | 1 | 137.94 | 0 | 2 | https://www.mouser.com/ProductDetail/Delta-Electronics/FC241B07-L0E?qs=DRkmTr78QATeJXNxOssdcg%3D%3D
9 | POWER CONVERTER (24V TO 5V) | TOBSUN | EA15-5V | AMAZON | 1 | 1 | 9.98 | 4 | 0 | https://www.amazon.com/BINZET-Converter-Regulator-Regulated-Transformer/dp/B00J3MHRNO/ref=sr_1_1?dchild=1&keywords=tobsun+ea15-15v&qid=1632260558&sr=8-1
10 | AC WALL ADAPTER | MEAN WELL | GSM40A24-P1J | DIGIKEY | 1 | 1 | 22.2 | 4 | 0 | https://www.trcelectronics.com/View/Mean-Well/GSM40A24-P1J.shtml
11 | Ribbon Cable (36 Pin) | UXCELL | A19041700UX0542 | AMAZON | 5 | 1 | 6.49 | 7 | 0 | https://www.amazon.com/uxcell-Flexible-Ribbon-Player-Laptop/dp/B07RX7Z9ZW
12 | EXTENSION ADAPTER | UXCELL | A19042900UX0610 | AMAZON | 1 | 1 | 5.99 | 1 | 0 | https://www.uxcell.com/05mm-pitch-36pins-36pin-extension-connector-for-ffc-fpc-cable-extend-zip-hdd-p-1626097.html
13 | TEENSY TERMINAL BOARD | OONO | B08R7QZLC9 | AMAZON | 1 | 1 | 23.9 | 0 | 1 | https://www.amazon.com/Terminal-Breakout-Module-Teensy-Version/dp/B08R7QZLC9/ref=sr_1_4?keywords=teensy+terminal+block&qid=1651604411&sprefix=teensy+termina%2Caps%2C95&sr=8-4
14 | USB TO TTL CONVERTER | DTECH | B07RBKCW3S | AMAZON | 1 | 1 | 12.48 | 0 | 1 | https://www.amazon.com/Serial-Adapter-Signal-FT232RL-Windows/dp/B08BLH8H8V
15 | USB ADAPTER (90 DEGREES) | Warmstor | B073GTBQ8V | AMAZON | 2 | 1 | 7.99 | 0 | 1 | https://www.amazon.com/Warmstor-SuperSpeed-Female-Adapter-Degree/dp/B073GTBQ8V/ref=sr_1_12?crid=3ZB9N5QSFOSE&keywords=usb+3.0+male+to+female+90+degree+right+angle+extension+adapter&qid=1651605042&sprefix=usb+3.0+male+to+female+90+degree+right+angle+extension+adapter+%2Caps%2C91&sr=8-12
16 | USB-C POWER CABLE (LOW PROFILE) | UGREEN | B07VJNQT6F | AMAZON | 1 | 1 | 8.48 | 0 | 1 | https://www.amazon.com/UGREEN-Charging-Braided-Compatible-Nintendo/dp/B07VJNQT6F/ref=sr_1_3?crid=1KI90979OI4LP&keywords=ugreen+usb+c+cable+90+degree+right+angle&qid=1651608179&sprefix=ugreen+usb+c+cable+90+degree+right+angle%2Caps%2C84&sr=8-3
17 | POWER SUPPLY (24v DC) | TRACO | TMDC 60-2415 | TRCELECTRONICS | 1 | 1 | 81.58 | 0 | 1 | https://www.trcelectronics.com/View/TRACO-Power/TMDC%2060-2415.shtml
18 | LED | UNKNOWN | BLUE | UNKNOWN | 1 | 1 | 0 | 15 | 0 | UNKNOWN
19 | LED | UNKNOWN | GREEN | UNKNOWN | 1 | 1 | 0 | 15 | 0 | UNKNOWN
1 | CONTROL BOARD SPACERS | ATORLABS | PLA SPACER PRT | 3D PRINTER | 24 | 4 | 0.5 | 10 | 0 | NONE
2 | PITOT ASSEMBLY | ATORLABS | SLA PITOT ASM | 3D PRINTER | 1 | 1 | 0.5 | 0 | 1 | NONE
3 | 90° FACEPLATE BRACKET | ATORLABS | PLA BRACKET PRT | 3D PRINTER | 10 | 7 | 0.5 | 12 | 1 | NONE
4 | 8/32 x 3/8" SCREW | MCMASTER-CARR | 91099A260 | MCMASTER-CARR | 100 | 7 | 8.85 | 50 | 0 | https://www.mcmaster.com/91099A260/
5 | M3 BI-GENDER BRASS STANDOFFS | Csdtylh | B06Y5TJXY1 | AMAZON | 360 | 8 | 13.88 | 0 | 1 | https://www.amazon.com/Csdtylh-Male-Female-Standoff-Stainless-Assortment/dp/B06Y5TJXY1/ref=sr_1_3?keywords=m3+male-female+brass+spacer+standoff&qid=1651777339&sprefix=m3+male+female+bra%2Caps%2C80&sr=8-3
6 | HEAT SET INSERT (4MM) | MCMASTER-CARR | 94180A351 | MCMASTER-CARR | 100 | 7 | 19.49 | 0 | 1 | https://www.mcmaster.com/94180A351/
7 | PLASTIC SHEET (24" x 24"BLACK) | MCMASTER-CARR | 8586K461 | MCMASTER-CARR | 1 | 1 | 30.3 | 1 | 1 | https://www.mcmaster.com/8586K461/
8 | M3 SCREW (8MM LONG) | MCMASTER-CARR | 91698A304 | MCMASTER-CARR | 50 | 10 | 6.1 | 0 | 1 | https://www.mcmaster.com/91698A304/
9 | M3 SCREW (10MM LONG) | MCMASTER-CARR | 91698A306 | MCMASTER-CARR | 50 | 10 | 6.49 | 0 | 1 | https://www.mcmaster.com/91698A306/
10
TOTAL | TOTAL
2189.5443 | 2279.01
1550
113.95
7.5
28.25
8.94
1.798
170.33
137.94
9.98
22.2
1.298
5.99
23.9
12.48
3.995
8.48
81.58
0
0
0.083333
0.5
0.35
0.6195
0.30844
1.3643
30.3
1.22
1.298