## Sheet1
ITEM # | DEPARTMENT | DESCRIPTION | MANUFACTURER | MAN P/N | FROM | QTY PER ORDER | QTY REQ TO BUILD 1 | ORDER COST | STOCK | ORDERS | LINK | NOTES | TOTAL PER BUILD | TOTAL
1 | ELECTRICAL | FLOWMETER | TSI | 5310-1 | TSI | 1 | 1 | 1555 | 1 | 0 | https://tsi.com/products/flow-meters,-flow-sensors,-and-flow-analyzers/5000-series-digital-flow-meters/air-gas-mass-flow-meter-(plus-kit)-5310-1/ |  | #VALUE! | 2398.25
2 | ELECTRICAL | BATTERY PACK | BATTERY SPACE | CU-J294 | BATTERY SPACE | 1 | 1 | 113.95 | 3 | 0 | https://www.batteryspace.com/Customize-LiFePO4-18650-Battery-25.6V-3000-mAh-76.8Wh-7A-rate-2Rx8.aspx
3 | ELECTRICAL | ROCKER SWITCH | MCMASTER-CARR | 7395K110 | MCMASTER-CARR | 1 | 1 | 7.5 | 4 | 0 | https://www.mcmaster.com/7395K11/
4 | ELECTRICAL | TEENSY BOARD | PJRC | TEENSY35_PINS | PJRC | 1 | 1 | 28.25 | 2 | 0 | https://www.pjrc.com/store/teensy35_pins.html
5 | ELECTRICAL | BATTERY SWITCHING MODULE | WALFRONT | B07B48CW3Y | AMAZON | 1 | 1 | 8.94 | 4 | 0 | https://www.amazon.com/Switching-Charging-Automatic-Emergency-Controller/dp/B07B48CW3Y/ref=sr_1_1?dchild=1&keywords=b07b48cw3y&qid=1632260471&sr=8-1 | <-- NOT IN CAD
6 | ELECTRICAL | POWER INLET | QOFOWIN | B08P5PJBCM | AMAZON | 5 | 1 | 8.99 | 9 | 0 | https://www.amazon.com/qofowin-Threaded-Connector-Pre-soldered-Waterproof/dp/B08P5PJBCM/ref=sr_1_1?dchild=1&keywords=b08p5pjbcm&qid=1632260520&sr=8-1
7 | ELECTRICAL | BLOWER FAN | Delta Electronics | BFN0724SS-01 | DIGIKEY | 1 | 1 | 170.33 | 0 | 2 | https://www.digikey.com/en/products/detail/delta-electronics/BFN0724SS-01/10244643
8 | ELECTRICAL | BLOWER FAN CONTROL BOARD | Delta Electronics | FC241B07-L0E | DIGIKEY | 1 | 1 | 137.94 | 0 | 2 | https://www.mouser.com/ProductDetail/Delta-Electronics/FC241B07-L0E?qs=DRkmTr78QATeJXNxOssdcg%3D%3D
9 | ELECTRICAL | POWER CONVERTER (24V TO 5V) | TOBSUN | EA15-5V | AMAZON | 1 | 1 | 9.98 | 4 | 0 | https://www.amazon.com/BINZET-Converter-Regulator-Regulated-Transformer/dp/B00J3MHRNO/ref=sr_1_1?dchild=1&keywords=tobsun+ea15-15v&qid=1632260558&sr=8-1
10 | ELECTRICAL | AC WALL ADAPTER | MEAN WELL | GSM40A24-P1J | DIGIKEY | 1 | 1 | 22.2 | 4 | 0 | https://www.trcelectronics.com/View/Mean-Well/GSM40A24-P1J.shtml | <-- NOT IN CAD
11 | ELECTRICAL | Ribbon Cable (36 Pin) | UXCELL | A19041700UX0542 | AMAZON | 5 | 1 | 6.49 | 7 | 0 | https://www.amazon.com/uxcell-Flexible-Ribbon-Player-Laptop/dp/B07RX7Z9ZW | <-- NOT IN CAD
12 | ELECTRICAL | EXTENSION ADAPTER | UXCELL | A19042900UX0610 | AMAZON | 1 | 1 | 5.99 | 1 | 0 | https://www.uxcell.com/05mm-pitch-36pins-36pin-extension-connector-for-ffc-fpc-cable-extend-zip-hdd-p-1626097.html | <-- NOT IN CAD
13 | ELECTRICAL | TEENSY TERMINAL BOARD | OONO | B08R7QZLC9 | AMAZON | 1 | 1 | 23.9 | 0 | 1 | https://www.amazon.com/Terminal-Breakout-Module-Teensy-Version/dp/B08R7QZLC9/ref=sr_1_4?keywords=teensy+terminal+block&qid=1651604411&sprefix=teensy+termina%2Caps%2C95&sr=8-4
14 | ELECTRICAL | USB TO TTL CONVERTER | DTECH | B07RBKCW3S | AMAZON | 1 | 1 | 12.48 | 0 | 1 | https://www.amazon.com/Serial-Adapter-Signal-FT232RL-Windows/dp/B08BLH8H8V | <-- NOT IN CAD
15 | ELECTRICAL | USB ADAPTER (90 DEGREES) | Warmstor | B073GTBQ8V | AMAZON | 2 | 1 | 7.99 | 0 | 1 | https://www.amazon.com/Warmstor-SuperSpeed-Female-Adapter-Degree/dp/B073GTBQ8V/ref=sr_1_12?crid=3ZB9N5QSFOSE&keywords=usb+3.0+male+to+female+90+degree+right+angle+extension+adapter&qid=1651605042&sprefix=usb+3.0+male+to+female+90+degree+right+angle+extension+adapter+%2Caps%2C91&sr=8-12 | <-- NOT IN CAD
16 | ELECTRICAL | USB-C POWER CABLE (LOW PROFILE) | UGREEN | B07VJNQT6F | AMAZON | 1 | 1 | 8.48 | 0 | 1 | https://www.amazon.com/UGREEN-Charging-Braided-Compatible-Nintendo/dp/B07VJNQT6F/ref=sr_1_3?crid=1KI90979OI4LP&keywords=ugreen+usb+c+cable+90+degree+right+angle&qid=1651608179&sprefix=ugreen+usb+c+cable+90+degree+right+angle%2Caps%2C84&sr=8-3 | <-- NOT IN CAD
17 | ELECTRICAL | POWER SUPPLY (24v DC) | TRACO | TMDC 60-2415 | TRCELECTRONICS | 1 | 1 | 81.58 | 0 | 1 | https://www.trcelectronics.com/View/TRACO-Power/TMDC%2060-2415.shtml | <-- NOT IN CAD
18 | ELECTRICAL | BLUE LED (3MM) | EDGELEC | B07NPR215H | AMAZON | 50 | 1 | 8.69 | 15 | 0 | https://www.amazon.com/EDGELEC-LED-Emitting-Diffused-Colored/dp/B07NPR215H/ref=sr_1_2_sspa?crid=RNXRRMQZD1S1&keywords=Green%2Bled&qid=1651851826&sprefix=green%2Ble%2Caps%2C97&sr=8-2-spons&spLa=ZW5jcnlwdGVkUXVhbGlmaWVyPUFUTTQzMDlVMTdFOU0mZW5jcnlwdGVkSWQ9QTA2MDczMzUzQTVLVjVGR0lJQTYxJmVuY3J5cHRlZEFkSWQ9QTAzMzgzOTczSExVSEVQTDdKQkNVJndpZGdldE5hbWU9c3BfYXRmJmFjdGlvbj1jbGlja1JlZGlyZWN0JmRvTm90TG9nQ2xpY2s9dHJ1ZQ&th=1 | <-- NOT IN CAD
19 | ELECTRICAL | GREEN LED (3MM) | EDGELEC | B07PXYYB56 | AMAZON | 50 | 1 | 8.69 | 15 | 0 | https://www.amazon.com/EDGELEC-LED-Emitting-Diffused-Colored/dp/B07PXYYB56/ref=sr_1_2_sspa?crid=RNXRRMQZD1S1&keywords=Green%2Bled&qid=1651851826&sprefix=green%2Ble%2Caps%2C97&sr=8-2-spons&spLa=ZW5jcnlwdGVkUXVhbGlmaWVyPUFUTTQzMDlVMTdFOU0mZW5jcnlwdGVkSWQ9QTA2MDczMzUzQTVLVjVGR0lJQTYxJmVuY3J5cHRlZEFkSWQ9QTAzMzgzOTczSExVSEVQTDdKQkNVJndpZGdldE5hbWU9c3BfYXRmJmFjdGlvbj1jbGlja1JlZGlyZWN0JmRvTm90TG9nQ2xpY2s9dHJ1ZQ&th=1 | <-- NOT IN CAD
20 | ELECTRICAL | 2 CHANNEL RELAY (5v) | CHENBO | B079FGPC9Y | AMAZON | 2 | 1 | 8.99 | 1 | 0 | https://www.amazon.com/Channel-Optocoupler-Trigger-Expansion-Arduino/dp/B079FGPC9Y/ref=sr_1_4?crid=3PHZR6CR9JYRH&keywords=5v%2B2%2Bchannel%2Brelay&qid=1651853342&s=industrial&sprefix=5v%2B2%2Bchannel%2Brelay%2Cindustrial%2C62&sr=1-4&th=1
21 | MECHANICAL | M4 x .7 SCREW (10MM) | MCMASTER-CARR | 92010A220 | MCMASTER-CARR | 100 | 7 | 9.02 | 50 | 0 | https://www.mcmaster.com/92010A220/
22 | MECHANICAL | M3 BI-GENDER BRASS STANDOFFS | Csdtylh | B06Y5TJXY1 | AMAZON | 360 | 1 | 13.88 | 0 | 1 | https://www.amazon.com/Csdtylh-Male-Female-Standoff-Stainless-Assortment/dp/B06Y5TJXY1/ref=sr_1_3?keywords=m3+male-female+brass+spacer+standoff&qid=1651777339&sprefix=m3+male+female+bra%2Caps%2C80&sr=8-3
23 | MECHANICAL | M4 x .7mm HEAT-SET INSERT (4.7MM) | MCMASTER-CARR | 94180A351 | MCMASTER-CARR | 100 | 7 | 19.49 | 0 | 1 | https://www.mcmaster.com/94180A351/
24 | MECHANICAL | BLACK PLASTIC SHEET (24" x 24") | MCMASTER-CARR | 8586K461 | MCMASTER-CARR | 1 | 0.25 | 30.3 | 0.25 | 1 | https://www.mcmaster.com/8586K461-8586K462/
25 | MECHANICAL | M3 SCREW (8MM LONG) | MCMASTER-CARR | 91698A304 | MCMASTER-CARR | 50 | 1 | 6.1 | 0 | 1 | https://www.mcmaster.com/91698A304/
26 | MECHANICAL | M3 SCREW (10MM LONG) | MCMASTER-CARR | 91698A306 | MCMASTER-CARR | 50 | 1 | 6.49 | 0 | 1 | https://www.mcmaster.com/91698A306/
27 | MECHANICAL | M3 WASHER | MCMASTER-CARR | 98689A112 | MCMASTER-CARR | 100 | 1 | 2.99 | 0 | 1 | https://www.mcmaster.com/98689A112/
28 | MECHANICAL | CASE | PELICAN | V100 | PELICAN | 1 | 1 | 49.95 | 2 | 0 | https://www.pelican.com/us/en/product/cases/small-pistol-case/vault/v100?sku=VCV100-0000-BLK
29 | MECHANICAL | SS MESH SCREEN | MCMASTER-CARR | 9317T146 | MCMASTER-CARR | 10 | 1 | 1.28 | 4 | 0 | https://www.mcmaster.com/2930T55/
30 | MECHANICAL | RUBBER WASHER | MCMASTER-CARR | 99186A143 | MCMASTER-CARR | 10 | 2 | 1.4 | 0 | 1 | https://www.mcmaster.com/99186A143/
31 | MECHANICAL | FLOWMETER FILTER | TSI | 5310-1 | TSI | 1 | 1 | 0 | 1 | 0 | NONE
32 | MECHANICAL | TUBING | MCMASTER-CARR | 5233K66 | MCMASTER-CARR | 1 | 1 | 15 | 0 | 1 | https://www.mcmaster.com/5233K66/
33 | MECHANICAL | ZIPTIES | ‎HAVE ME TD | B08TVLYB3Q | AMAZON | 400 | 1 | 5.99 | 25 | 0 | https://www.amazon.com/HAVE-ME-TD-Cable-Ties/dp/B08TVLYB3Q/ref=sr_1_5?crid=34RSNAMDLZFUW&keywords=ZIPTIES&qid=1651965112&sprefix=zipties%2Caps%2C169&sr=8-5
34 | MECHANICAL | WASHER | MCMASTER-CARR |  | MCMASTER-CARR | 1 | 1 | -- |  | 1
35 | MECHANICAL | SCREW | MCMASTER-CARR |  | MCMASTER-CARR | 1 | 1 | -- |  | 1
1555
113.95
7.5
28.25
8.94
1.798
170.33
137.94
9.98
22.2
1.298
5.99
23.9
12.48
3.995
8.48
81.58
0.1738
0.1738
4.495
0.6314
0.038556
1.3643
7.575
0.122
0.1298
0.0299
49.95
0.128
0.28
0
15
0.014975
#VALUE!
#VALUE!